## Запишите типы измерительных инструментов и их названия

## Length Measurement Tools and Units

Common tools for measuring length include:

Digital Calipers - Providing accuracy up to 0.01 millimeters, these tools excel at measuring internal and external dimensions. Their digital display eliminates parallax errors common in analog tools.

Micrometers - Capable of measurements to 0.001 millimeters, micrometers use a precision screw mechanism. Different types include:

- Outside micrometers for external measurements

- Inside micrometers for bore diameters

- Depth micrometers for measuring depths of holes or recesses

Laser Distance Meters - Using light-based technology, these tools measure distances up to several hundred meters with accuracy of ±1.5mm. They prove invaluable in construction and surveying.

## Mass Measurement Instruments

Analytical Balances - These high-precision instruments measure mass to 0.0001 grams, featuring:

- Anti-vibration mounts

- Draft shields

- Temperature compensation

- Internal calibration weights

Platform Scales - Used for heavier items, these scales offer capacities from several kilograms to multiple tons, with features including:

- Digital readouts

- Data logging capabilities

- Multiple weighing units

- Overload protection

## Volume Measurement Tools

Graduated Cylinders - Offering volume measurements from 10mL to 2000mL, with accuracy depending on size and quality:

- Class A cylinders provide ±0.2% accuracy

- Temperature-compensated markings

- Anti-parallax strips

Pipettes - Available in several varieties:

- Volumetric pipettes for single, precise volumes

- Graduated pipettes for variable volumes

- Micropipettes for microliter quantities

- Electronic pipettes for automated dispensing

## Temperature Measurement Devices

Digital Thermometers - Featuring:

- Range from -200°C to 1500°C

- Resolution to 0.1°C

- Multiple sensor types

- Data logging capabilities

Infrared Thermometers - Enabling non-contact measurement:

- Instant readings

- Adjustable emissivity settings

- Distance-to-spot ratios up to 50:1

- Built-in laser sighting

## Pressure Measurement Tools

Manometers - Measuring pressure differences through:

- U-tube designs

- Digital displays

- Multiple pressure units

- Temperature compensation

Pressure Transducers - Converting pressure to electrical signals:

- Accuracy to 0.05% full scale

- Multiple output options

- Robust industrial designs

- Digital communication protocols

## Time Measurement Instruments

Atomic Clocks - Providing ultimate precision:

- Accuracy to 1 second in 100 million years

- Based on cesium atom transitions

- Temperature-controlled environments

- Multiple redundant systems

Chronometers - Offering precision timing:

- Resolution to 0.01 seconds

- Multiple timing modes

- Memory functions

- Water resistance

## Electrical Measurement Tools

Digital Multimeters - Measuring multiple electrical parameters:

- Voltage to 1000V AC/DC

- Current to 10A

- Resistance to 40MΩ

- Capacitance and frequency measurements

Oscilloscopes - Displaying electrical waveforms:

- Bandwidth to 1GHz

- Multiple input channels

- Advanced triggering options

- Mathematical analysis functions

l. Read the text carefully and answer the following questions:

A gas meter is used to measure the volume of fuel gases such as natural gas and propane.

Gas meters are used at residential, commercial, and industrial buildings that consume fuel gas

supplied by a gas utility. Gases are more difficult to measure than liquids, as measured volumes

are highly affected by temperature and pressure. Gas meters measure a defined volume,

regardless of the pressurized quantity or quality of the gas flowing through the meter.

Temperature, pressure and heating value compensation must be made to measure actual amount

and value of gas moving through a meter.

Several different designs of gas meters are in common use, depending on the volumetric

flow rate of gas to be measured, the range of flows anticipated, the type of gas being measured

and other factors. Diaphragm/bellows meters. These are the most common type of gas meter,

seen in almost all residential and small commercial installations. Within the meter there are two

or more chambers formed by movable diaphragms. With the gas flow directed by internal valves,

the chambers alternately fill and expel gas, producing a near continuous flow through the meter.

As the diaphragms expand and contract, levers connected to cranks convert the linear motion of

the diaphragms into rotary motion of a crank shaft which serves as the primary flow element.

This shaft can drive an odometer-like counter mechanism to measure the flow of gas.

1 What is a gas meter used for?

2 What is the most common type of gas meter?

3 What is the operation mode of a diaphragm meter?

2 Give English equivalents to the Russian words and word combinations:

Давление; мембранный газовый счетчик; измерять определенный объем природного газа;

счетное устройство; поток газа, проходить через счетчик

3.Translate the following sentences into English:

1 Газовый счетчик измеряет объем использованного природного газа потребителем.

2 Мембранный счетчик – наиболее типичный газовый счетчик, предусмотренный для

жилых помещений.

4 Match the words (A) with the appropriate definition (B)

A B

motion 1) a type of substance like air and usually can not be seen;

pipe 2) to find the size, length, amount, degree (to show or record);

to measure 3) a tube used for carrying liquids or gas;

valve 4) the act, way or process of moving ;

gas 5) a door like part of a pipe which opens and shuts to control the flow of gas.

Get Talking

1 Find all the sentences where the professional terminology is used, read and translate

them. Write the professional terminology.

2 Say some words about the most common type of gas meter. Your talk should include

10 phrases.